
[image: image1.png]z
=
w
T
=
a
<
i
=
-
o
o
w
o
@
o





	Activity 2.1.1 Wood Frame Systems



Introduction

Most people do not consider what is behind the painted walls or exterior surface in most buildings. Homes are often constructed with a wood frame, especially if the area has an abundant supply of wood. Much of the United States has an abundant supply, so wood frame buildings are common. Different regions, however, dictate other differences, such as whether the outside facing walls are made of 2x4 or 2x6 studs to allow for different amounts of insulation. Wood frame construction has existed for many years. If you visit a construction site to observe the skeleton of such a structure, you should be able to make sense of the placement of the different support pieces. 

Equipment

· Internet and/or reference texts

Procedure

In this activity you will use available resources to identify the primary parts of a traditional wood frame structure and then describe the purpose of each.

1. Use letters or numbers to identify at least 15 components in the image below. Then list the purpose of each component.

2. Upon completion, discover and include any components that should be added to your table.

	Label
	Component
	Component’s Purpose

	1
	Floor joist
	Used to carry the floor and ceiling loads 


	2
	subfloor
	Joined at the joist and used to finish floor

	3
	walls
	Vertical framing members

	4
	Top plate
	On top of studs to hold walls together

	5
	Sole plate
	At the bottom of the studs to hold the walls together 


	6
	Window opening 
	A horizontal structure to hold the window and opening

	7
	Roof trusses 
	Rigid framework formed with triangles


	8
	Insulation 
	Material to form from heat and sound 


	9
	sheathing
	A covering placed over the roof that serves a base 

	10
	Vapor barrier
	To keep mold and vapor out 


	11
	Siding 
	Materials such as shingles and bordes 


	12
	underlayment
	Tar paper used to keep water out 


	13
	Asphalt shingles
	Roof shingles made by asphalt 


	14
	
	

	
	
	

	
	
	

	
	
	

	
	
	


[image: image2.png]



Conclusion
3. List, describe, and explain the purpose of two components of a residential building that you are familiar with, such as your home.

4. Which part of wood frame construction do you think will change the most in the near future? Explain the change and why you believe it will occur soon.[image: image3.png]



© 2010 Project Lead The Way, Inc.

CEA Activity 2.1.1 Wood Frame Systems – Page 2

